## Outcome
Laboratory Information System (LIS) Interface Facility Integration Verification Checklist |  |  | Pass
Outcome and Supporting Data Template |  |  | Fail
This guidance checklist is to be completed by the LIS vendor or implementing pathology service AFTER the LIS vendor has successfully completed the ‘LIS Interface Vendor Verification Checklist’.
LIS Name:
LIS Version:
Region/s:
Facility Names:
Facility Id's:
BloodNet LIS Specification Version:
Step | Check | Outcome (Pass/Fail)
1 | Is the Facility’s vendor software already certified by NBA?
2 | Perform connectivity test by successfully calling data read operations (For instance: GetFacilities, GetSuppliers, GetSupplierProducts etc.)
3 | Perform successful call to GetReceiptedIssueNotes LIS function – retrieve at least 100 issue notes. Note: To pass step three the facility will need to retrieve at least two issue notes as part of this call. Alternatively they will need to make multiple calls to this service.
4 | Perform successful call to AcknowledgeReceiptedIssueNotes LIS function to acknowledge at least 100 issue notes. Note: this operation must be repeated at least 3 times and must be more than one issue note in these three calls.
5 | Perform successful call to UpdateRealTimeInventoryLevels LIS function to update the facility’s stock levels.
6 | Verify that the facility is sending Inventory level updates every fifteen minutes.
7 | Perform successful calls to FateOfUnit LIS function to supply a fate for a component or product. Note: This operation must be repeated for all fate types and must involve both components and products.

## Step 1
Please provide the following information for Step 1 Check which is not limited to these suggested columns.
Step | Check | Yes/No | Comments | Yes
1 | Is the Facility’s vendor software already certified by NBA? |  |  | No

## Step 2
Please provide the following information for Step 2 Check which is not limited to these suggested columns.
Step | Check | Outcome | Comments
2 | Perform connectivity test by successfully calling data read operations (For instance: GetFacilities, GetSuppliers, GetSupplierProducts etc.)
Step 2 - Test results for certification verification
LIS Region/Facility | Date/Time Utility Service Called | Call Successful (Y/N)
<Insert LIS Name Here> Reference Data Import Procedure | Worked as Expected (Y/N) | Comments
Facilities |  | i.e. X Facilities received from BloodNet
Modifiers
ProductTypes
Suppliers
SupplierProducts
SupplierComponents
ComponentTypes
CustomTransferLocations
CustomLocations
DispenseLocations
SentToLocations
DefectReasons
DiscardLocations
DiscardReasons
DistributionSites
BarcodeTypes
TransferReasons
TransfusionLocations

## Step 3
Please provide the following information for Step 3 Check which is not limited to these suggested columns.
Step | Check | Outcome | Comments
3 | Perform successful call to GetReceiptedIssueNotes LIS function – retrieve at least 100 issue notes. Note: To pass step three the facility will need to retrieve at least two issue notes as part of this call. Alternatively they will need to make multiple calls to this service.
Step 3 - Test results for certification verification
Summary of Testing:
LIS | No. Issue Notes | No. Components | No. Products
Details of Testing:
LIS | FacilityID | Name | No. Issue Notes | No. Components | No. Products
Add more 'Details of Testing' tables if more than one LIS Region and separately attached or embedded files of this information are acceptable.

## Step 4
Please provide the following information for Step 4 Check which is not limited to these suggested columns.
Step | Check | Outcome | Comments
4 | Perform successful call to AcknowledgeReceiptedIssueNotes LIS function to acknowledge at least 100 issue notes. Note: this operation must be repeated at least 3 times and must be more than one issue note in these three calls.
Step 4 - Test results for certification verification
Summary of Testing:
LIS | No. Issue Notes Acknowledged | No. Components | No. Products
Details of Testing:
SupplierID | OrderNumber | SupplierIssueNoteID | IssueNoteLineID | FacilityID | Name | DespatchDateTime | LotNumber | DerivedLotNumber | BloodGroupID | CollectionDateTime | ExpiryDateTime | ReceivedDateTime | IssueNoteReceiverID | AcknowledgedDateTime | UnitVolume | ComponentID | ProductID
Add more 'Details of Testing' tables if more than one LIS Region and separately attached or embedded files of this information are acceptable.

## Sheet 5
Please provide the following information for Step 5 Check which is not limited to these suggested columns.
Step | Check | Outcome | Comments
5 | Perform successful call to UpdateRealTimeInventoryLevels LIS function to update the facility’s stock levels.
Step 5 - Test results for certification verification
LIS | No. Real Time Inventory Calls Sent
TOTAL | <Insert number of calls sent>
Details of Testing:
MessageDate | FacilityID | SupplierComponentID | SupplierProductID | ABOPhenotype | RhPhenotype | CMVNEG | Irradiated | SpecifyGroup | Allocated | NoOfUnits
Add more 'Details of Testing' tables if more than one LIS Region and separately attached or embedded files of this information are acceptable.

## Step 6
Please provide the following information for Step 6 Check which is not limited to these suggested columns.
Step | Check | Outcome | Comments
6 | Verify that the facility is sending Inventory level updates every fifteen minutes.
Step 6 - Test results for certification verification
This test is solely the responsibility of the Facility and whilst the NBA check that we receive these messages every 15 mintues.
Note: The NBA will also separately monitor this for a 24 hour period and review to confirm inventory updates are occurring.

## Step 7
Please provide the following information for Step 7 Check which is not limited to these suggested columns.
Step | Check | Outcome | Comments
7 | Perform successful calls to FateOfUnit LIS function to supply a fate for a component or product. Note: This operation must be repeated for all fate types and must involve both components and products.
Step 7 - Test results for certification verification
Add more 'Details of Testing' tables if more than one LIS Region and separately attached or embedded files of this information are acceptable.
Details of Testing:
UnitFate | Fate Type: Discard | Any unit that is Discarded, Assumed Discarded, Confirmed Discarded, or equivalent should use this value.
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID
UnitFate | Fate Type: Transfuse | Product is known to have been transfused to the patient that was allocated at crossmatch.
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID
UnitFate | Fate Type: AssumedTransfused | Product has been sent for use and has not been returned after a set time frame, so is assumed to be transfused by the patient that was allocated at crossmatch.
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID
UnitFate | Fate Type: Dispense | Crossmatched product has been sent to a ward or particular area for use by the patient that was allocated the product at crossmatch.
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID
UnitFate | Fate Type: Convert | FFP unit that has been thawed and/or converted to ELP or Red cell unit that has been irradiated.
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID
UnitFate | Fate Type: Crossmatch | Product has been allocated (either serologically or by direct electronic issue) to a specific patient.
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID
UnitFate | Fate Type: Transfer | Product has been moved to another BloodNet or NYB BloodNet site and should now appear in their inventory.
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID
UnitFate | Fate Type: Reserve | Product has been ‘put aside’ for a specific patient, but not yet allocated by crossmatch or direct issue. The product should not be counted in available inventory.
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID
UnitFate | Fate Type: SentTo | Product has been sent to another location (usually within the hospital, e.g. emergency O Negative units in theatre fridge) but HAS NOT been allocated to a specific patient. (This could potentially be used instead of transfer for helicopter retrieval service or inter hospital movement for NYB sites).
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID
UnitFate | Fate Type: ReturnToStock | The above fate types will need to be reversible to allow a unit’s previous status to be reset to a preceding status, whilst still retaining an audit trail displaying any other prior statuses set for a unit.
MessageDate | FateComment | ComponentID | EndStatusID | Description | EpisodeDateTime | FacilityID | FacilityUnitUniqueIdentifier | LotNumber | ProductID | FateQuantity | CurrentStatus | PackABO | PatientFirstName | PatientLastName | DOB | MRN | PackRh | SexID | CustomTransferLocationID | CustomTransferLocationName | DestinationDistributionSiteID | DestinationFacilityID | TransferReasonID | DiscardLocationID | DiscardReasonID | Reason | RegistrarFirstName | RegistrarIHI | RegistrarLastName | RegistrarSpecialty | TransfusionLocationID | PatientABO | PatientRh | ExpiryDateTime | CustomTransfusionLocationID | CustomTransfusionLocation | TransfusionDateTime | CustomDiscardLocationID | CustomDiscardLocation | DiscardDateTime | CrossmatchRegistrarFirstName | CrossmatchRegistrarIHI | CrossmatchRegistrarLastName | CrossmatchRegistrarSpecialty | CrossmatchDateTime | CustomDispenseLocationID | CustomDispenseLocation | DispenseDateTime | DispenseLocationID